| Work Activity | Related Tasks | Hazards | Hazard Ranking* Risk = Severity + Probability + Frequency |  |  |  | Hazard Controls |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | S | P | F | Risk |  |
| Site Mobilization | Manual Material Handling | - Overexertion - Lifting - Pulling - Pushing - Reaching | 2 | 2 | 1 | Medium | - Follow safe material handling procedures for equipment being used (i.e., proper lifting techniques, appropriate loads, etc.); - Store material as per manufacturers recommendations. - Wear PPE as appropriate (safety boots, gloves, safety glasses, hard hat). |
|  | Housekeeping | - Slips, trips, falls, pinch points | 2 | 2 | 1 | Medium | - Be aware of hazards in your work area. - Use barricades and proper waste containers as necessary. - Proper material storage. - Use PPE as needed. |
| Safety Orientation | Internal and Site-Specific Safety Orientation | - Material not understood - Safety Rules Ignored | 2 | 2 | 1 | Medium | - Test and evaluate employee’s comprehension of material. - Employee acknowledgment of orientation completion and understanding and maintain documentation. - Pre job hazard assessment and review. - Continued compliance with employer and site-specific policies and procedures. - routine hazard inspections as required. - Refresher orientations as needed. |
| Hazard Communication | Site Specific Hazard Assessments | - Unfamiliar and changing site conditions and operations | 4 | 2 | 1 | High | - Pre-job hazard assessments and review - Routine hazard inspections - Routine hazard communication via toolbox meetings |
|  | Controlled Products Inventory | - Missing MSDS - Material required additional training - Decanting products - Storage of chemicals - Special handling requirements - Burns, poisoning, explosions | 3 | 2 | 1 | High | - WHMIS training - Obtain up to date MSDS for all controlled products - Maintain MSDS documentation and review - Ensure all controlled products included decanted products are properly labeled in compliance with WHMIS requirements - First aid procedures - Use proper PPE as specified on MSDS |
| Quality Assurance | Equipment Preventative Maintenance | - Calibration gases - Electrical hazard - Defective tools | 4 | 2 | 1 | High | - Worker training for equipment use and calibration procedures. - Calibrate equipment in a well-ventilated area when calibrating gases are utilized. - Implement calibration and maintenance schedule. - Routinely inspect equipment. Remove from service any damaged equipment and tag the item appropriately. - Follow SWP and manufacturer specifications. |
| Working at Heights | Using Ladder | - Fall from height | 4 | 2 | 1 | High | - Follow safe work procedures (SWP) for using ladders (portable ladders; step ladders) |
|  | Scaffolding | - Slips, trips, and falls | 4 | 2 | 1 | High | - Scaffolds will be erected by a competent person - Follow SWP for metal scaffolds - Review inspection tag prior to using scaffold |
|  | Working above 10ft / water / hazardous substance(s) | - Falls - Drowning - Contact with hazardous substance | 4 | 2 | 1 | High | - Ensure workers are properly trained for working at heights - Utilize PPE as required (i.e. fall protection equipment) - Review pre-job hazard assessment and rescue plans and comply with all requirements as indicated |
| Confined Spaces | Confined Space Entry | - Hazardous atmosphere - Physical hazards (i.e. noise, slip trip & fall, machinery, lighting, temp, loose unstable material) - Overwhelm ; panic - Limited access and egress & risk of becoming trapped | 4 | 2 | 1 | High | - Develop and review site specific hazard assessment and emergency response plan. - Ensure workers receive proper training prior to entry. - Rescue plan, competent person, and equipment available. - Atmospheric testing. - Permits obtained as required. - Confined space attendant in-place. - Lines of communication available. - PPE as required (may include SCBA, lifelines, retractable lanyard, fall protection, etc.). Ensure workers are trained as necessary. - Follow SWP for confined spaces. |
|  | Confined Space Attendant | - Lack of training | 4 | 2 | 1 | High | - Ensure confined space attendants are properly trained, have reviewed the site-specific hazard assessment and emergency response plans, and comply with confined space SWP; - Maintain atmospheric testing and worker documentation as required. |
| Industrial Hygiene | Worker Exposure Monitoring | - Various physical and chemical hazards - Site specific hazards - Equipment handling | 3 | 2 | 2 | High | - Complete pre-job and site-specific hazard assessment. - Ensure appropriate respiratory protection is being used for the atmospheric hazards present at the worksite. - Wear all appropriate PPE (i.e., hearing protection, safety glasses, high vis vest, steel-toed boots, gloves, etc.). - Use equipment in accordance with SWP and is compliant with site rules (i.e., intrinsically safe). - Follow site specific safety rules and procedures. |
|  | Compressed Breathing Air Testing (low and high pressure) | - Compressed air / equipment hazards - Site specific hazards | 3 | 2 | 1 | High | - Safety glasses and steel-toed boots are to be worn when performing testing. - Wear PPE as required on the work site. - Use extreme caution when working with high pressure systems. - Do not exceed the pressure limit when filling cylinders or other sampling medium. - Follow SWP for compressed breathing air sampling. |
| Indoor Air Quality (IAQ) | IAQ Investigations / Air Sampling | - Inhalation exposure - Slips, trips, falls - Equipment handling - Electrical hazard | 2 | 2 | 1 | Medium | - Wear appropriate respiratory protection and other PPE as required. - Complete pre-job and site-specific hazard assessment. - If ladders are used, follow SWP for ladders. - Ensure all equipment and tools are inspected, maintained, and calibrated (as applicable), and follow SWP. - Ensure any electrical cords are properly grounded, are not used near water, and electrical outlets are not overloaded. |
|  | Bulk material / Swab Sampling | - Inhalation exposure - Dermal Exposure | 2 | 2 | 1 | Medium | - Use PPE (i.e., hand protection, safety glasses, etc.) and respiratory protection as required; |
|  | Ventilation Inspections | - Mechanical equipment - Pinch points - Slips, trips, falls | 4 | 2 | 1 | High | - Loose clothing and/or jewelry should not be worn. - Be cautious of pinch points around moving parts. - Never insert any extremities near moving mechanical parts. - If ladders or elevated work platforms are used, follow applicable SWP. - Be aware of and adhere to exclusion zones when working on roofs. - Wear appropriate PPE (i.e. fall protection) as required. |
| Hazardous Materials | Hazardous Materials Inspections and Sampling | - Exposure (inhalation, dermal, eye, etc.) to hazardous materials such as asbestos, lead, mould, PCB’s, mercury, silica, etc. - Slips, trips, falls | 4 | 2 | 1 | High | - Wear appropriate respiratory protection and other PPE as required. - Complete pre-job and site-specific hazard assessment. - If ladders are used, follow SWP for ladders. - If roof access is required, ensure the appropriate means of access is used (i.e., correct ladder for the job; elevated work platform). If fall protection is required, ensure workers are properly trained. - Ensure all equipment and tools are inspected, maintained, and calibrated (as applicable), and follow SWP. |
|  | Hazardous Materials Abatement and Remediation Supervision | - Inhalation / dermal hazard - Contamination of work area or public space - Electrical hazards | 4 | 2 | 1 | High | - Ensure all workers at the site comply with the site specific SWP and abatement requirements. - Ensure workers are aware of the scope of work and are properly trained and certified in the abatement being performed. - Ensure compliance with governing regulations as they pertain to the scope of work. - Wear PPE as required and in accordance with the level of abatement being performed. - Ensure all equipment and tools are inspected, maintained, and calibrated (as applicable), and follow SWP. - Ensure adequate site isolation as required. - Ensure lock-out and tag-out procedures are employed. - Ensure proper decontamination procedures are adhered to and that facilities are available as required. |
| Environmental Assessment | Potable Water Sampling | - Dermal and eye exposure - Site specific hazards | 2 | 2 | 1 | Medium | - Complete pre-job and site-specific hazard assessment. - Wear water impermeable gloves and safety glasses during sample collection. - Wear the appropriate PPE as required on the work site. |
| Construction | Various inspections and investigations | - Heavy equipment - Site specific hazards - Slips, trips, fall - Noise - Uneven terrain - Trenches and excavations | 4 | 2 | 2 | High | - Complete pre-job and site-specific hazard assessment. - Worker orientation training. - Wear the appropriate PPE as required on the work site. - Exercise extreme caution when in a construction zone and working around heavy equipment. Ensure equipment operators are always aware of your location. - Only those who have received proper training are permitted to work in and around trenches or excavated areas, when safe to do so. |
| * Hazard Ranking Classifications |  |  |  |  |  |  |  |
| Severity (S): +0 No Injury +1 Minor Injury-requiring first aid +2 Medical treatment with no lost time beyond the day of injury and minor property damage ($500 or less) +3 Lost Time Injury or significant property damage (greater than $500 but less than $5000) +4 Permanent Disability/Fatality(ies) or major property damage (greater than $5000) |  |  |  |  |  |  |  |
| Probability (P): +1 Exposure to the uncontrolled hazard is unlikely to occur +2 Exposure to the uncontrolled hazard could occur +3 Exposure to the uncontrolled hazard will occur |  |  |  |  |  |  |  |
| Frequency (F): Number of Persons Exposed; Number of times persons may be exposed to or have contact with the hazard.. Less than daily; Few times a day; Many times, a day. Few; +1; +1; +2. Moderate; +1; +2; +3. Many; +2; +2; +3. |
| Risk = Severity + Probability + Frequency Low Risk 0-2 Medium Risk 3-5 High Risk 6-10 |  |  |  |  |  |  |  |